## Sheet1
Inventories 2022-03-01 06:51:11
| Description | Category | Subcategory | Ref. ID | Expired Date | Quantity | Threshold | Purchased Date | Location | Remarks | Image
| 1.5 mm2 WIRE ROPE | Building | Accessories | GB-M-0225 |  | 100 | 1 |  | Zone > GBB-EC11 (Inventory)
| 3M ANTI SKID MAT PIN | Building | Door | GB-M-0149 |  | 0 | 1 |  | Zone > GBB-EC11 (Inventory)
| 3M REFLECTIVE TAP METER | Building | Accessories | GB-M-0199 |  | 31 | 1 |  | Zone > GBB-EC11 (Inventory)
| 15 W LED PANEL LIGHT | Electrical | Bulb | GB-M-0276 |  | 22 | 1 |  | Zone > GBB-EC11 (Inventory)
| 28W PHILPHS DRIVER | Electrical | Driver | GB-M-0285 |  | 7 | 1 |  | Zone > GBB-EC11 (Inventory)
| 60MM LOCKSET IN EURO PROFILE 171.WZ.E100 DIN L 20300896(SS FOREND) LEFT HAND | Building | Door | GB-M-0002 |  | 5 | 1 |  | Zone > GBB-EC11 (Inventory)
| 60MM LOCKSET IN EURO PROFILE 171.WZ.E100 DIN R 2030001025(SS FOREND) RIGHT HAND | Building | Door | GB-M-0003 |  | 2 | 1 |  | Zone > GBB-EC11 (Inventory)
| 72/40HB40 PAD LOCK | Building | Door | GB-M-0093 |  | 1 | 1 |  | Zone > GBB-EC11 (Inventory)
| 72/40HB40 PAD LOCK MASTER KEY | Building | Door | GB-M-0094 |  | 9 | 1 |  | Zone > GBB-EC11 (Inventory)
| 215.70.ASI6 KABA LOCKSET(FOR HANDICAP TOILET DOOR) | Building | Door | GB-M-0024 |  | 12 | 1 |  | Zone > GBB-EC11 (Inventory)
| 316 S/S WIRE ROPE (6MM) METER BIG | Building | Accessories | GB-M-0190 |  | 50 | 1 |  | Zone > GBB-EC11 (Inventory)
| 316 S/S WIRE ROPE (6MM) METER SMALL | Building | Accessories | GB-M-0188 |  | 200 | 1 |  | Zone > GBB-EC11 (Inventory)
| ALBION/G1114 HANDICAP TOILET DOOR LOCKSET (FULLSET | Building | Door | GB-M-0017 |  | 2 | 1 |  | Zone > GBB-EC11 (Inventory)
| ANGLE VALVE TAP (FT-1073) | Plumbing | Toilet | GB-M-0261 |  | 7 | 1 |  | Zone > GBB-EC11 (Inventory)
| ANTI SLIP TAPE 2'X 60FT (OYAMA) BLACK | Building | Accessories | GB-M-0162 |  | 4 | 1 |  | Zone > GBB-EC11 (Inventory)
| ANTI SLIP TAPE 2'X 60FT (OYAMA) YELLOW- | Building | Accessories | GB-M-0162 |  | 4 | 1 |  | Zone > GBB-EC11 (Inventory)
| AQUA BEEM | Plumbing | Water Dispenser | GB-M-0266 |  | 7 | 1 |  | Zone > GBB-EC11 (Inventory)
| AQUA SELANT | Plumbing | Water Dispenser | GB-M-0265 |  | 4 | 1 |  | Zone > GBB-EC11 (Inventory)
| ART NO : IB004SS S/S INDICATING LATCH | Building | Door | GB-M-0015 |  | 0 | 1 |  | Zone > GBB-EC11 (Inventory)
| ASI-A6 MASTER KEY (MASTER KEY FOR 98, 99,100 LOCKS OPEN) | Building | Door | GB-M-0186 |  | 0 | 1 |  | Zone > GBB-EC11 (Inventory)
| ASI/BLIY 3213 SS MORTISE NIGHTLATCH STAINLESS STEEL FOREND LOCK BLIY 3213 | Building | Door | GB-M-0008 |  | 6 | 1 |  | Zone > GBB-EC11 (Inventory)
| ASI 03 CUP HANDLE | Building | Door | GB-M-0012 |  | 26 | 1 |  | Zone > GBB-EC11 (Inventory)
| ASI 150X19MM SUS 316 PULL HANDLE | Building | Door | GB-M-0021 |  | 7 | 1 |  | Zone > GBB-EC11 (Inventory)
| ASI 215.70 SNP THUMBTURN CYLINDER (ASI-A6) | Building | Door | GB-M-0185 |  | 0 | 1 |  | Zone > GBB-EC11 (Inventory)
| ASI 215.90 SNP THUMBTURN CYLINDER (ASI-A6) | Building | Door | GB-M-0183 |  | 18 | 1 |  | Zone > GBB-EC11 (Inventory)
| ASI 215.120 SNP THUMBTURN CYLINDER (ASI-A6) | Building | Door | GB-M-0184 |  | 10 | 1 |  | Zone > GBB-EC11 (Inventory)
| ASI SF067 LEVER HANDLE ON ROSE IN SS316 FINISH LEHA 0083 | Building | Door | GB-M-0009 |  | 4 | 1 |  | Zone > GBB-EC11 (Inventory)
| ASTRAL POOL PUMP(CTX400-1.50HP-EXP) | Mechanical | Pump | GB-M-0330 |  | 1 | 1 |  | Zone > GBB-EC11 (Inventory)
| AUTO SOAP DISPENSER | Plumbing | Toilet | GB-M-0254 |  | 9 | 1 |  | Zone > GBB-EC11 (Inventory)
| Auto TISSUES DISPENSER | Accessories | Dispenser | GB-M-0323 |  | 3 | 1 |  | Zone > GBB-EC11 (Inventory)
| AWS WC SET | Security | Fire System | GB-M-0290 |  | 1 | 1 |  | Zone > GBB-EC11 (Inventory)
| BABY CHANGING CHAIR | Plumbing | Toilet | GB-M-221 |  | 1 | 1 |  | Zone > GBB-EC11 (Inventory)
| Baby toilet cushion | Plumbing | Toilet | GB-M-0331 |  | 8 | 1 |  | Zone > GBB-EC11 (Inventory)
| BASIN WASTE PLUG WITH CHAIN32MM | Plumbing | Plug | GB-M-0235 |  | 2 | 1 |  | Zone > GBB-EC11 (Inventory)
| BASIN WATER TAP ( | Plumbing | Tap | GB-M-0237 |  | 5 | 1 |  | Zone > GBB-EC11 (Inventory)
| BASIN WATER TAP (W3-R-SCT2014) | Plumbing | Tap | GB-M-0236 |  | 2 | 1 |  | Zone > GBB-EC11 (Inventory)
| BATHROOM TAP | Plumbing | Toilet | GB-M-0304 |  | 10 | 1 |  | Zone > GBB-EC11 (Inventory)
| BIDET SPRAY | Plumbing | Toilet | GB-M-0305 |  | 6 | 1 |  | Zone > GBB-EC11 (Inventory)
| BIG WIRE CUTTER | Hardware | Building | GB-M-0287 |  | 1 | 1 |  | Zone > GBB-EC11 (Inventory)
| BOTHING SPARY | Plumbing | Toilet | GB-M-0138 |  | 7 | 1 |  | Zone > GBB-EC11 (Inventory)
| BRASS PADLOCK (YALE) | Building | Door | GB-M-0095 |  | 2 | 1 |  | Zone > GBB-EC11 (Inventory)
| BULIDING SEELING SPRAY | Building | Accessories | GB-M-0139 |  | 2 | 1 |  | Zone > GBB-EC11 (Inventory)
| CABINET DOOR HINGES | Building | Door | GB-M-0148 |  | 7 | 1 |  | Zone > GBB-EC11 (Inventory)
| CAM LOCK (CONTACT) 20MM LIM01003- 100954 | Building | Door | GB-M-0079 |  | 10 | 1 |  | Zone > GBB-EC11 (Inventory)
| CAM LOCK (CONTACT) 30MM LIM01016-100953 | Building | Door | GB-M-0082 |  | 8 | 1 |  | Zone > GBB-EC11 (Inventory)
| CAM LOCK (OCEAN) 25MM LIM01038-105671 | Building | Door | GB-M-0080 |  | 13 | 1 |  | Zone > GBB-EC11 (Inventory)
| CAM LOCK (OCEAN) 30MM LIM01038- 105672 | Building | Door | GB-M-0081 |  | 20 | 1 |  | Zone > GBB-EC11 (Inventory)
| CAM LOCK (TARGT) 16MM LIM01016-100955 | Building | Door | GB-M-0083 |  | 1 | 1 |  | Zone > GBB-EC11 (Inventory)
| CAM LOCK (TARGT) 25MM LIM01016-100956 | Building | Door | GB-M-0084 |  | 5 | 1 |  | Zone > GBB-EC11 (Inventory)
| CCM 13A PLUG IN ELCB ADAPTOR | Electrical | Plug | GB-M-0240 |  | 5 | 1 |  | Zone > GBB-EC11 (Inventory)
| CEILING PANNEL (600*600) | Building | Ceiling | GB-M-0295 |  | 2 | 1 |  | Zone > GBB-EC11 (Inventory)
| CHARGING BATTERY | Electrical | Batteries | GB-M-0298 |  | 7 | 1 |  | Zone > GBB-EC11 (Inventory)
| Child protection system | NIL | NIL | GB-M-0328 |  | 2 | 1 |  | Zone > GBB-EC11 (Inventory)
| CLOVER SAFETY COLD FAUCET | Plumbing | Tap | GB-M-0143 |  | 2 | 1 |  | Zone > GBB-EC11 (Inventory)
| CLOVER SAFETY HOT FAUCET | Plumbing | Tap | GB-M-0142 |  | 0 | 1 |  | Zone > GBB-EC11 (Inventory)
| COMBINATION CHAIN LOCK 36 INCH/900MM | Building | Door | GB-M-0195 |  | 3 | 1 |  | Zone > GBB-EC11 (Inventory)
| Convex mirror (600mm) | Building | Accessories | GB-M-0322 |  | 1 | 1 |  | Zone > GBB-EC11 (Inventory)
| Convex mirror (800mm) | Building | Accessories | GB-M-0321 |  | 4 | 1 |  | Zone > GBB-EC11 (Inventory)
| COPPER BRUSH NUT | Plumbing | Toilet | GB-M-0270 |  | 9 | 1 |  | Zone > GBB-EC11 (Inventory)
| CYLINDER PLUS THE TURN BUCKET (D LINE KNOB ONLY) | Building | Door | GB-M-0014 |  | 6 | 1 |  | Zone > GBB-EC11 (Inventory)
| DMS-012040W DRIVER WATERPROOF DRIVER 124-40W | Electrical | Driver | GB-M-0283 |  | 5 | 1 |  | Zone > GBB-EC11 (Inventory)
| DOOR ACCESSORIES | Building | Door | GB-M-0134 |  | 2 | 1 |  | Zone > GBB-EC11 (Inventory)
| DOOR CLOSER -TIESHEN#KE061A | Building | Door | GB-M-0098 |  | 10 | 1 |  | Zone > GBB-EC11 (Inventory)
| DOOR MOTOR ACCESSORIES | Building | Door | GB-M-0147 |  | 1 | 1 |  | Zone > GBB-EC11 (Inventory)
| DOOR OVAL CYLINDER LOCK 70MM 6 PINS (KABA) FOR HORT PARK | Building | Door | GB-M-0201 |  | 3 | 1 |  | Zone > GBB-EC11 (Inventory)
| DOOR OVAL KNOB CYLINDER 70MM 6 PINS LIM03019-108036 (KABA) | Building | Door | GB-M-0078 |  | 8 | 1 |  | Zone > GBB-EC11 (Inventory)
| DORMA BTS 80 EN 4 BDF FLOOR SPRING C/W COVER PLATE ( NON-HOLD OPEN) | Building | Door | GB-M-0180 |  | 4 | 1 |  | Zone > GBB-EC11 (Inventory)
| DORMA DOOR ACCESSORIES | Building | Door | GB-M-0057 |  | 9 | 1 |  | Zone > GBB-EC11 (Inventory)
| DORMA DOOR CLOSER | Building | Door | GB-M-0228 |  | 1 | 1 |  | Zone > GBB-EC11 (Inventory)
| DORMA ITS96 EN2-4 BC CONCEALED DOORCLOSER (2NOS) WITH 96 GSR SLIDE CHANNEL WITH INTEGRAL DOOR CO-ORDINATOR SOR DOUBLE LEAF DOOR | Building | Door | GB-M-0050 |  | 7 | 1 |  | Zone > GBB-EC11 (Inventory)
| DORMA PT10 BOTTOM PATCH ACCESORIES ( FOR 12MM GLASS THICKNESS) | Building | Door | GB-M-0181 |  | 3 | 1 |  | Zone > GBB-EC11 (Inventory)
| DORMA PT20 BOTTOM PATCH ACCESORIES ( FOR 12MM GLASS THICKNESS) | Building | Door | GB-M-0181-1 |  | 2 | 1 |  | Zone > GBB-EC11 (Inventory)
| DORMA PT40 TOP INSERT (LOCATION FOR ARRIVAL GLASS DOOR) | Building | Door | GB-M-0200 |  | 6 | 1 |  | Zone > GBB-EC11 (Inventory)
| DORMA TS68(EN-2-4) STANDARD ARM DOOR CLOSER WITH BACKCHECK IN SILVER FINISH 66410901 | Building | Door | GB-M-0170 |  | 5 | 1 |  | Zone > GBB-EC11 (Inventory)
| DORMA TS83 EN3-6 BCA/DC REGULAR ARM DOOR CLOSER IN SILVER FINISH | Building | Door | GB-M-0051 |  | 8 | 1 |  | Zone > GBB-EC11 (Inventory)
| DORMA TS83 EN3-6 BC REGULAR ARM BRACKET (BRACKET ANGLE ONLY) | Building | Door | GB-M-0052 |  | 7 | 1 |  | Zone > GBB-EC11 (Inventory)
| DORMA TS93B EN2-6 BC CAM-ACTION DOOR CLOSER WITH SLIDE ARM,CHANNEL IN SILVER FINISH | Building | Door | GB-M-0053 |  | 6 | 1 |  | Zone > GBB-EC11 (Inventory)
| DORMA TS93G EN2-5 BC CAM - ACTION DOOR CLOSER WITH SLIDE ARM,CHANNEL | Building | Door | GB-M-0054 |  | 0 | 1 |  | Zone > GBB-EC11 (Inventory)
| DORMA TS93G EN5-7 BC CAM-ACTION DOOR CLOSER WITH SLIDE ARM,CHANNEL AND ANGLE BRACKET IN SILVER FINISH 43530001 | Building | Door | GB-M-0055 |  | 6 | 1 |  | Zone > GBB-EC11 (Inventory)
| DORMA US10 PATCH ( FOR 12MM GLASS THICKNESS) | Building | Door | GB-M-0182 |  | 4 | 1 |  | Zone > GBB-EC11 (Inventory)
| DOUBLE CYLINDER 65MM LIM01018 | Building | Door | GB-M-0075 |  | 4 | 1 |  | Zone > GBB-EC11 (Inventory)
| DRY CELL 12V - 7AH BATTERY | Electrical | Batteries | GB-M-0212 |  | 29 | 1 |  | Zone > GBB-EC11 (Inventory)
| ELECTRICAL DIGITAL MEASURING EQUIPMENT | Electrical | Accessories | GB-M-0269 |  | 1 | 1 |  | Zone > GBB-EC11 (Inventory)
| ESCALATOR WARNING ACRYLIC PANNEL | Mechanical | Escalator | GB-M-0135 |  | 1 | 1 |  | Zone > GBB-EC11 (Inventory)
| ESCUTCHEON LEVER FINISH TYPE- US 32D LEVER TYPE- #2 CYLINDER- INCLUDED MODEL NO: EMEX 0003 | Building | Door | GB-M-0011 |  | 3 | 1 |  | Zone > GBB-EC11 (Inventory)
| FALL PROTECTION EXPERTS | Building | Accessories | GB-M-0137-1 |  | 9 | 1 |  | Zone > GBB-EC11 (Inventory)
| FALL PROTECTION EXPERTS | Building | Accessories | GB-M-0137 |  | 7 | 1 |  | Zone > GBB-EC11 (Inventory)
| FF Toilet door lock set | Building | Door | GB-M-0329 |  | 1 | 1 | 2021-12-31 | Zone > GBB-EC11 (Inventory)
| Fire Emergency Box Glass Cover | Fire | Accessories | GB-M-0315 |  | 74 | 1 |  | Zone > GBB-EC11 (Inventory)
| FIRE EXTINGUISHER | Security | Fire System | GB-F-0010 |  | 2 | 1 |  | Zone > GBB-EC11 (Inventory)
| Fire Extinguisher Cylinder | Fire | Accessories | GB-M-0314 |  | 17 | 1 |  | Zone > GBB-EC11 (Inventory)
| FLUSING PISTON | Plumbing | Toilet | GB-M-0246 |  | 3 | 1 |  | Zone > GBB-EC11 (Inventory)
| GALVD HASP & STAPLE 6 INCH (HEAVY DUTY ) | Building | Door | GB-M-0193 |  | 2 | 1 |  | Zone > GBB-EC11 (Inventory)
| GALVD TOWER BOLT 9X5/8 INCH | Building | Door | GB-M-0194 |  | 2 | 1 |  | Zone > GBB-EC11 (Inventory)
| GLASS DECENTER | Building | Door | GB-M-0131 |  | 12 | 1 |  | Zone > GBB-EC11 (Inventory)
| GLASS DOOR HANDLE MODLE: S/S PULL HANDLE(BTB) SUS 316 DIA 32X1200MM MEAS 122X26X11 CM | Building | Door | GB-M-0157 |  | 5 | 1 |  | Zone > GBB-EC11 (Inventory)
| GLASS TOP FOR ED PANTRY | Building | Accessories | GB-M-0204 |  | 1 | 1 |  | Zone > GBB-EC11 (Inventory)
| HAIRLINE FINISHING W/LOCK S/S (FLOOR TRAP COVER) | Building | Door | GB-M-0196 |  | 3 | 1 |  | Zone > GBB-EC11 (Inventory)
| HANDICAP DOOR LOCKSET MODEL- 6060 | Building | Door | GB-M-0016 |  | 5 | 1 |  | Zone > GBB-EC11 (Inventory)
| HANDICAP HANDRAIL | Building | Door | GB-M-0167 |  | 2 | 1 |  | Zone > GBB-EC11 (Inventory)
| Handryer | Plumbing | Toilet | GB-M-0320 |  | 4 | 1 |  | Zone > GBB-EC11 (Inventory)
| HAQER MCB 2 POLE 20AMP TYPE C | Electrical | Circuit Breaker | GB-M-0271 |  | 10 | 1 |  | Zone > GBB-EC11 (Inventory)
| HARDEN STEEL PADLOCK | Building | Door | GB-M-099 |  | 11 | 1 |  | Zone > GBB-EC11 (Inventory)
| HARDEN STEEL PADLOCK KEY | Building | Door | GB-M-0100 |  | 0 | 1 |  | Zone > GBB-EC11 (Inventory)
| HINGES ASI 127 X 89 X 3MM SUS316 2BB HINGE | Building | Door | GB-M-0007 |  | 4 | 1 |  | Zone > GBB-EC11 (Inventory)
| HOLOGINE LED LIGHT WARM WHITE | Electrical | Bulb | GB-M-0273 |  | 3 | 1 |  | Zone > GBB-EC11 (Inventory)
| HONEY WELL DOUBLE GANG SWITCH | Electrical | Switch | GB-M-0278 |  | 18 | 1 |  | Zone > GBB-EC11 (Inventory)
| HONEY WELL ONE GANG SWITCH | Electrical | Switch | GB-M-0277 |  | 15 | 1 |  | Zone > GBB-EC11 (Inventory)
| HOSE PIPE | Hardware | Building | GB-M-0145 |  | 1 | 1 |  | Zone > GBB-EC11 (Inventory)
| HP ANTI INSECT SPRAY | Building | Accessories | GB-M-0140 |  | 3 | 1 |  | Zone > GBB-EC11 (Inventory)
| IC KEY FOR OUTDOOR PUMPS CHAMBER OPEN | Mechanical | Pump | GB-M-0158 |  | 2 | 1 |  | Zone > GBB-EC11 (Inventory)
| IN 304 SSS C/W 8MM SPRING LOADED ROSE AND BOLT THROUGH SCREWS ART NO-8101 S/S LEVER HANDLE SATIN FINISH | Building | Door | GB-M-0010 |  | 14 | 1 |  | Zone > GBB-EC11 (Inventory)
| INDOOR DOOR CLOSER T72V EN2-4 | Building | Door | GB-M-0056 |  | 2 | 1 |  | Zone > GBB-EC11 (Inventory)
| Industrial Fan | Electrical | Fan | GB-M-0144 |  | 2 | 1 |  | Zone > GBB-EC11 (Inventory)
| KABA/GEGE 171.WZ SASH LOCK WITH 60MM BACK SET IN EURO PROFILE (SS FOREND) C/W STRIKE PLATE (LEFT SIDE) | Building | Door | GB-M-0172 |  | 11 | 1 |  | Zone > GBB-EC11 (Inventory)
| KABA/GEGE 171.WZ SASH LOCK WITH 60MM BACK SET IN EURO PROFILE (SS FOREND) C/W STRIKE PLATE (RIGHT SIDE) | Building | Door | GB-M-0173 |  | 8 | 1 |  | Zone > GBB-EC11 (Inventory)
| KABA 4828 LEFT HAND SL 482800013L | Building | Door | GB-M-0006 |  | 6 | 1 |  | Zone > GBB-EC11 (Inventory)
| KABA GLUTZ 4829. 7/60 DIN-L SASH LOCK LEFT HAND | Building | Door | GB-M-0004 |  | 4 | 1 |  | Zone > GBB-EC11 (Inventory)
| KABA GLUTZ 4829. 7/60 DIN-R SASHLOCK RIGHT HAND | Building | Door | GB-M-0005 |  | 10 | 1 |  | Zone > GBB-EC11 (Inventory)
| KABA NIGHT LATCH LOCK 4828.07/60 RIGHT HAND | Building | Door | GB-M-0007 |  | 3 | 1 |  | Zone > GBB-EC11 (Inventory)
| KEPLER TAP(W3-K-SA219L) | Plumbing | Tap | GB-M-0229 |  | 2 | 1 |  | Zone > GBB-EC11 (Inventory)
| LEDVANCE DRIVER ONLY 20 WATS | Electrical | Driver | GB-M-0282 |  | 0 | 1 |  | Zone > GBB-EC11 (Inventory)
| LIFE LINE 10M | Building | Accessories | GB-M-0139 |  | 4 | 1 |  | Zone > GBB-EC11 (Inventory)
| LIFE LINE 30M | Building | Accessories | GB-M-0138 |  | 1 | 1 |  | Zone > GBB-EC11 (Inventory)
| LOCKER | Security | Fire System | GB-M-0296 |  | 12 | 1 |  | Zone > GBB-EC11 (Inventory)
| LOCKER LOCK SET | Building | Door | GB-M-0150 |  | 1 | 1 |  | Zone > GBB-EC11 (Inventory)
| LUCE LED WARM LIGHT 18 W | Electrical | Bulb | GB-M-0274 |  | 1 | 1 |  | Zone > GBB-EC11 (Inventory)
| MAGANETIC ACCESS BSPSOL | Electrical | Accessories | GB-M-0281 |  | 5 | 1 |  | Zone > GBB-EC11 (Inventory)
| Manual soap dispenser | Accessories | Soap Dispenser | GB-M-0319 |  | 19 | 1 |  | Zone > GBB-EC11 (Inventory)
| MANUAL VOLT METER | Electrical | Meter | GB-M-0275 |  | 1 | 1 |  | Zone > GBB-EC11 (Inventory)
| MAX BOND GLUE | Building | Accessories | GB-M-0301 |  | 2 | 1 |  | Zone > GBB-EC11 (Inventory)
| METAL CABINET LOCK | Building | Door | GB-M-0091 |  | 15 | 1 |  | Zone > GBB-EC11 (Inventory)
| METALLIC PAINTS & PREMIER | Building | Accessories | GB-M-0206 |  | 11 | 1 |  | Zone > GBB-EC11 (Inventory)
| MOSO CELLING DOUBLE SET LIGHTES | Electrical | Bulb | GB-M-0280 |  | 6 | 1 |  | Zone > GBB-EC11 (Inventory)
| MULTI PLUG TIMER | Electrical | Plug | GB-M-0239 |  | 5 | 1 |  | Zone > GBB-EC11 (Inventory)
| NA | NIL | NIL | NA |  | 0 | 0 |  | Zone > GBB-EC11 (Inventory)
| Oscillating Fan | Electrical | Fan | GB-M-0326 |  | 3 | 1 |  | Zone > GBB-EC11 (Inventory)
| OSRAM LED 7 WATS | Electrical | Bulb | GB-M-0279 |  | 124 | 1 |  | Zone > GBB-EC11 (Inventory)
| PAD LOCK | Building | Door | GB-M-0090 |  | 0 | 1 |  | Zone > GBB-EC11 (Inventory)
| PARALLEL ARM BRACKET INSATIN NICKEL PLATED LH | Building | Door | GB-M-0171 |  | 10 | 1 |  | Zone > GBB-EC11 (Inventory)
| PEDESTAL CABINET DRAWER SLIDER | Building | Door | GB-M-0155 |  | 8 | 1 |  | Zone > GBB-EC11 (Inventory)
| PEDESTAL CABINET DRAWER WHEEL | Building | Accessories | GB-M-0166 |  | 3 | 1 |  | Zone > GBB-EC11 (Inventory)
| PEDESTAL SLIDER | Building | Door | GB-M-0154 |  | 5 | 1 |  | Zone > GBB-EC11 (Inventory)
| PEDESTRAL DRAWER LOCK | Building | Door | GB-M-0088 |  | 2 | 1 |  | Zone > GBB-EC11 (Inventory)
| PHILIPS T8 TUBE LIGHT 14W | Electrical | Bulb | GB-M-0284 |  | 15 | 1 |  | Zone > GBB-EC11 (Inventory)
| PLASTIC CASTOR RIGID 2(WHEEL) | Building | Door | GB-M-0243 |  | 5 | 1 |  | Zone > GBB-EC11 (Inventory)
| PLC LIGHT 13W 2 PIN | Electrical | Lamp | GB-M-0316 |  | 8 | 1 |  | Zone > GBB-EC11 (Inventory)
| PLC LIGHT 13W 4 PIN | Electrical | Bulb | GB-M-0317 |  | 8 | 1 |  | Zone > GBB-EC11 (Inventory)
| PLUG | Electrical | Plug | GB-M-0244 |  | 2 | 1 |  | Zone > GBB-EC11 (Inventory)
| PORTABLE AIRCON REMOTE | ACMV | Remote | GB-M-0268 |  | 2 | 1 |  | Zone > GBB-EC11 (Inventory)
| POWER PAC TIMER PLUG | Electrical | Plug | GB-M-0234 |  | 4 | 1 |  | Zone > GBB-EC11 (Inventory)
| PT41 TOP PATCH FITTING LH (FOR 12MM GLASS THICKNESS) ArtNr 80332570199 | Building | Door | GB-M-0207 |  | 2 | 1 |  | Zone > GBB-EC11 (Inventory)
| PT41 TOP PATCH FITTING RH (FOR 12MM GLASS THICKNESS) ArtNr 80332670199 | Building | Door | GB-M-0208 |  | 2 | 1 |  | Zone > GBB-EC11 (Inventory)
| PUSH BUTTON NUMBER LOCK (35&40mm) | Building | Door | GB-M-0092 |  | 5 | 1 |  | Zone > GBB-EC11 (Inventory)
| PUSH LOCK (SHELVING LOCK) LIM01026-102251 | Building | Door | GB-M-0085 |  | 10 | 1 |  | Zone > GBB-EC11 (Inventory)
| PVC BIDGET HOSE | Plumbing | Toilet | GB-M-0262 |  | 10 | 1 |  | Zone > GBB-EC11 (Inventory)
| QUEUE POLE (RETRATABLE BELT BARRIER BLACK ) C/W MOUNT PLATE | Building | Accessories | GB-M-0133 |  | 4 | 1 |  | Zone > GBB-EC11 (Inventory)
| RAISED FLOOR PANEL MODEL: FS800CL 600X600X35MM | Building | Accessories | GB-M-0160 |  | 10 | 1 |  | Zone > GBB-EC11 (Inventory)
| RESETTABLE PADLOCK | Building | Door | GB-M-0097 |  | 1 | 1 |  | Zone > GBB-EC11 (Inventory)
| RESETTABLE PADLOCK 9TAIWAN0 PL-352 | Building | Door | GB-M-0096 |  | 2 | 1 |  | Zone > GBB-EC11 (Inventory)
| REVERSABLE EXIT DEVICE/DOOR PUSH BAR MODEL- EMEX0005 | Building | Door | GB-M-0018 |  | 5 | 1 |  | Zone > GBB-EC11 (Inventory)
| RIGEL TOLIET ADAPTOR | Plumbing | Toilet | GB-M-0251 |  | 2 | 1 |  | Zone > GBB-EC11 (Inventory)
| RIGEL VALVE | Plumbing | Toilet | GB-M-0247 |  | 2 | 1 |  | Zone > GBB-EC11 (Inventory)
| RIGEL W3-R-JT070111B | Plumbing | Toilet | GB-M-0250 |  | 5 | 1 |  | Zone > GBB-EC11 (Inventory)
| Roll tissue Dispenser | Accessories | Dispenser | GB-M-0324 |  | 29 | 1 |  | Zone > GBB-EC11 (Inventory)
| RUST OLEUM AMERICAN ACCENTS SPRAY PAINT | Building | Accessories | GB-M-0206-1 |  | 5 | 1 |  | Zone > GBB-EC11 (Inventory)
| SAFETY ROPE WITH HARNESS | Building | Accessories | GB-M-0136 |  | 5 | 1 |  | Zone > GBB-EC11 (Inventory)
| Safty HARDNESS BELT CLAMP | Hardware | Building | GB-M-0325 |  | 7 | 1 |  | Zone > GBB-EC11 (Inventory)
| SAFTY HARDNESS BELT CLAMP | Building | Accessories | GB-M-0300 |  | 8 | 1 |  | Zone > GBB-EC11 (Inventory)
| SCAFOLDING CLAMP | Building | Accessories | GB-M-0299 |  | 20 | 1 |  | Zone > GBB-EC11 (Inventory)
| SELF CLOSING MANUAL SLIDING TRACK SYSTEM-2 METER (SUPPLY ONLY) | Building | Door | GB-M-0019 |  | 1 | 1 |  | Zone > GBB-EC11 (Inventory)
| SHOWY(5053) -VALVE 1/2 | Plumbing | Toilet | GB-M-0248 |  | 5 | 1 |  | Zone > GBB-EC11 (Inventory)
| SHOWY 1/2 GARDEN TAP | Plumbing | Tap | GB-M-0238 |  | 2 | 1 |  | Zone > GBB-EC11 (Inventory)
| SILICONE | Building | Accessories | GB-M-0146 |  | 20 | 1 |  | Zone > GBB-EC11 (Inventory)
| SIllicon water proof DOWSIL 688 | Building | Accessories | GB-M-0232 |  | 16 | 1 |  | Zone > GBB-EC11 (Inventory)
| Sillicon water proof DOWSIL 791 | Building | Accessories | GB-M-0233 |  | 10 | 1 |  | Zone > GBB-EC11 (Inventory)
| SINGLE CYLINDER 60MM LIM01035 | Building | Door | GB-M-0077 |  | 4 | 1 |  | Zone > GBB-EC11 (Inventory)
| SINGLE CYLINDER 70MM LIM01035 | Building | Door | GB-M-0076 |  | 21 | 1 |  | Zone > GBB-EC11 (Inventory)
| SK TAP | Plumbing | Toilet | GB-M-0245 |  | 5 | 1 |  | Zone > GBB-EC11 (Inventory)
| SLIDING PUSH LOCK 50X22X19MM LIM01039-105673 | Building | Door | GB-M-0086 |  | 45 | 1 |  | Zone > GBB-EC11 (Inventory)
| SMALL GRATING | Building | Accessories | GB-M-0227 |  | 18 | 1 |  | Zone > GBB-EC11 (Inventory)
| SOAP DISPENSER | Accessories | Dispenser | GB-M-0288 |  | 35 | 1 |  | Zone > GBB-EC11 (Inventory)
| SOLENOID | Plumbing | Toilet | GB-M-0256 |  | 2 | 1 |  | Zone > GBB-EC11 (Inventory)
| SOUNDAL FILL&FIX | Building | Accessories | GB-M-0230 |  | 4 | 1 |  | Zone > GBB-EC11 (Inventory)
| SQUARE DRAWER LOCK LIMO2013-1002273 | Building | Door | GB-M-0087 |  | 4 | 1 |  | Zone > GBB-EC11 (Inventory)
| SS 316 WIRE MESH | Building | Door | GB-M-0132 |  | 4 | 1 |  | Zone > GBB-EC11 (Inventory)
| ST 01 STAINLESS STEEL KEY HOLE ESCUTCHEON | Building | Door | GB-M-0022 |  | 6 | 1 |  | Zone > GBB-EC11 (Inventory)
| STAINLESS STEEL BRACKET | Building | Door | GB-M-0130 |  | 200 | 1 |  | Zone > GBB-EC11 (Inventory)
| STAINLESS STEEL FLOOR COVER | Plumbing | Toilet | GB-M-0303 |  | 4 | 1 |  | Zone > GBB-EC11 (Inventory)
| STAINLESS STEEL LATCH MODEL:Q1A | Building | Door | GB-M-0187 |  | 1 | 1 |  | Zone > GBB-EC11 (Inventory)
| STEEL BIDET HOUSE | Plumbing | Toilet | GB-M-0263 |  | 16 | 1 |  | Zone > GBB-EC11 (Inventory)
| SUMP PUMP OLD STOCK | Mechanical | Pump | GB-M-0297 |  | 2 | 1 |  | Zone > GBB-EC11 (Inventory)
| SUPERTREE UPLIGHT LIGHT FOR LG3 FLOOR GLASS | Electrical | Accessories | GB-M-0159 |  | 4 | 1 |  | Zone > GBB-EC11 (Inventory)
| THUMBTURN INDICATOR DEADLOCK | Building | Door | GB-M-0013 |  | 7 | 1 |  | Zone > GBB-EC11 (Inventory)
| TISSUES DISPENSER | Accessories | Dispenser | GB-M-0289 |  | 3 | 1 |  | Zone > GBB-EC11 (Inventory)
| TOILET COMPRESS DOOR LOCKSET HINGES (LEFT SIDE HINGES) | Building | Door | GB-M-0020-1 |  | 10 | 1 |  | Zone > GBB-EC11 (Inventory)
| TOILET COMPRESS DOOR LOCKSET HINGES (RIGHT SIDE HINGES) | Building | Door | GB-M-0020 |  | 10 | 1 |  | Zone > GBB-EC11 (Inventory)
| TOILET SEAT COVER | Plumbing | Toilet | GB-M-0313 |  | 10 | 1 |  | Zone > GBB-EC11 (Inventory)
| TOILET SEAT COVER HOLDER WHITE | Plumbing | Toilet | GB-M-0306 |  | 16 | 1 |  | Zone > GBB-EC11 (Inventory)
| TOILET SEAT COVER HOLDER WHITE/SILVER | Plumbing | Toilet | GB-M-0259 |  | 24 | 1 |  | Zone > GBB-EC11 (Inventory)
| TS 1725.216 316 SS EXTENSION FLUSH BOLT | Building | Door | GB-M-0023 |  | 11 | 1 |  | Zone > GBB-EC11 (Inventory)
| T SHAPE IC KEY FOR CD FLOWER FIELD RAMP | Building | Lockset | GB-M-0175 |  | 2 | 1 |  | Zone > GBB-EC11 (Inventory)
| T SHAPE IC KEY FOR CM DRAIN CHAMBER | Building | Lockset | GB-M-0175-1 |  | 2 | 1 |  | Zone > GBB-EC11 (Inventory)
| TUBELIGHT PHILIPS 28W | Electrical | Bulb | GB-M-0286 |  | 0 | 1 |  | Zone > GBB-EC11 (Inventory)
| TURNBUCKLE HADLE (L AND R SET) BIG | Building | Accessories | GB-M-0191 |  | 8 | 1 |  | Zone > GBB-EC11 (Inventory)
| TURNBUCKLE HADLE (Left side) SMALL | Building | Door | GB-M-0189 |  | 34 | 1 |  | Zone > GBB-EC11 (Inventory)
| TURNBUCKLE HADLE (Right side) SMALL | Building | Door | GB-M-0189-1 |  | 10 | 1 |  | Zone > GBB-EC11 (Inventory)
| TYRE (18*6.50-8) | Mechanical | Tyre | GB-M-0292 |  | 1 | 1 |  | Zone > GBB-EC11 (Inventory)
| TYRE(18*8.50-8) | Mechanical | Tyre | GB-M-0293 |  | 4 | 1 |  | Zone > GBB-EC11 (Inventory)
| TYRE(20*100.50-10) | Mechanical | Tyre | GB-M-0294 |  | 4 | 1 |  | Zone > GBB-EC11 (Inventory)
| URINAL SENSOR(SA-PS18V-1S) | Plumbing | Toilet | GB-M-0252 |  | 2 | 1 |  | Zone > GBB-EC11 (Inventory)
| Valve 1/2 | Plumbing | Valve | GB-M-0137 |  | 7 | 1 |  | Zone > GBB-EC11 (Inventory)
| VALVE KEY | Building | Lockset | GB-M-0156 |  | 1 | 1 |  | Zone > GBB-EC11 (Inventory)
| VESDA DUAL STAGE FILTER | Plumbing | Water Dispenser | GB-M-0267 |  | 35 | 1 |  | Zone > GBB-EC11 (Inventory)
| WARM WHITE LED LIGHT 9W | Electrical | Bulb | GB-M-0272 |  | 13 | 1 |  | Zone > GBB-EC11 (Inventory)
| WASH BASIN BOTTOM TRAP SET | Plumbing | Toilet | GB-M-0258 |  | 1 | 1 |  | Zone > GBB-EC11 (Inventory)
| WASH BASIN DOWN SIDE STEEL HOUSE | Plumbing | Toilet | GB-M-0264 |  | 15 | 1 |  | Zone > GBB-EC11 (Inventory)
| WATER DISPENSER FILTER | Plumbing | Water Filter | GB-M-0144-1 |  | 3 | 1 |  | Zone > GBB-EC11 (Inventory)
| WATER FILTER | Plumbing | Water Filter | GB-M-0144 |  | 4 | 1 |  | Zone > GBB-EC11 (Inventory)
| WATER PROOF SAND PAPER ROLL | Building | Accessories | GB-M-0174 |  | 0 | 1 |  | Zone > GBB-EC11 (Inventory)
| Water tap | Plumbing | Tap | GB-M-0136 |  | 1 | 1 |  | Zone > GBB-EC11 (Inventory)
| WATER TAP | Plumbing | Tap | GB-M-0141 |  | 3 | 1 |  | Zone > GBB-EC11 (Inventory)
| WATER TAP | Plumbing | Tap | GB-M-0231 |  | 2 | 1 |  | Zone > GBB-EC11 (Inventory)
| WATER TAP CONTROLLER(SA-CASSTOLV-A) | Plumbing | Toilet | GB-M-0257 |  | 2 | 1 |  | Zone > GBB-EC11 (Inventory)
| water tap sensor eye | Plumbing | Toilet | GB-M-0249 |  | 13 | 1 |  | Zone > GBB-EC11 (Inventory)
| WB self power sensor long tap | Hardware | Sanitary | GB-M-0327 |  | 18 | 1 |  | Zone > GBB-EC11 (Inventory)
| WB self power sensor tap | Plumbing | Tap | GB-M-0318 |  | 0 | 1 |  | Zone > GBB-EC11 (Inventory)
| WC SENSOR ASSEMBLY (AWS) (BAY CENTRAL) | Electrical | Accessories | GB-M-0168 |  | 1 | 1 |  | Zone > GBB-EC11 (Inventory)
| WC SENSOR CONNECTER | Plumbing | Toilet | GB-M-0255 |  | 3 | 1 |  | Zone > GBB-EC11 (Inventory)
| WC SENSOR EYE(SA-EYECI01DRDF) | Plumbing | Toilet | GB-M-0253 |  | 3 | 1 |  | Zone > GBB-EC11 (Inventory)
| WD -40 | Building | Accessories | GB-M-0302 |  | 4 | 1 |  | Zone > GBB-EC11 (Inventory)
| WEATHERPROOF PADLOCK WITH KEY ALIKE | Building | Door | GB-M-0089 |  | 2 | 1 |  | Zone > GBB-EC11 (Inventory)
| WHITE SOLINOID | Plumbing | Toilet | GB-M-0260 |  | 0 | 1 |  | Zone > GBB-EC11 (Inventory)
| YELLOW AND BLACK TAPES | Building | Accessories | GB-M-0241 |  | 9 | 1 |  | Zone > GBB-EC11 (Inventory)
| YELLOW TAPES | Building | Accessories | GB-M-0242 |  | 3 | 1 |  | Zone > GBB-EC11 (Inventory)